## XDM2041
Name | GET/SET | CMD | Parameters | Return example
IDN | GET | *IDN? |  | OWON,XDM2041,2153136,V3.0.0,3
VDC | SET | CONF:VOLT:DC {RANGE} | RANGE:AUTO;500E-3;5;50;500;1000
VAC | SET | CONF:VOLT:AC {RANGE} | RANGE:AUTO;500E-3;5;50;500;750
IDC | SET | CONF:CURR:DC {RANGE} | RANGE:AUTO;500E-6;5E-3;50E-3;500E-3;5;10
IAC | SET | CONF:CURR:AC {RANGE} | RANGE:AUTO;500E-6;5E-3;50E-3;500E-3;5;10
R2W | SET | CONF:RES {RANGE} | RANGE:AUTO;500;5000;50000;500000;5000000;50000000
R4W | SET | CONF:FRES {RANGE} | RANGE:AUTO;500;5000;50000;500000;5000000;50000000
CAP | SET | CONF:CAP {RANGE} | RANGE:AUTO;50e-9;50e-8;50e-7;50e-6;50e-5;50e-4;50e-3
FREQ | SET | CONF:FREQ
TEMP | SET | CONF:TEMP
DIOD | SET | CONF:DIOD
CONT | SET | CONF:CONT
PERIOD | SET | CONF:PER
Get range | GET | RANGE? |  | 500uA
read | GET | MEAS? |  | -96.0002

## KORAD KA3005P
Name | GET/SET | CMD | Parameters | Return example
Identification | GET | *IDN? |  | KORAD KA3005P V5.5 SN:17799972
Status | GET | STATUS?
Read desired output voltage | GET | VSET1?
Set desired output voltage | SET | VSET1:{VOLT} | VOLT:V.2f
Read actual output voltage | GET | VOUT1?
Read desired output current | GET | ISET1?
Set desired output current | SET | ISET1:{CURRENT} | CURRENT:V.3f
Read actual output current | GET | VOUT1?
Set over voltage protection | SET | OVP{STATE} | STATE:0;1
Set over current protection | SET | OCP{STATE} | STATE:0;1
Set output state | SET | OUT{STATE} | STATE:0;1

## KORAD KA3005PS
Name | GET/SET | CMD | Parameters | Return example
Identification | GET | *IDN? |  | KORAD KA3005PS V1.0 SN:03820940
Status | GET | STATUS?
Read desired output voltage | GET | VSET1?
Set desired output voltage | SET | VSET1:{VOLT} | VOLT:V.2f
Read actual output voltage | GET | VOUT1?
Read desired output current | GET | ISET1?
Set desired output current | SET | ISET1:{CURRENT} | CURRENT:V.3f
Read actual output current | GET | IOUT1?
Set over voltage protection | SET | OVP{STATE} | STATE:0;1
Set over current protection | SET | OCP{STATE} | STATE:0;1
Set output state | SET | OUT{STATE} | STATE:0;1